TOILET
TOILET
CLADDING ON WALLS
NEW CEILING (OVERBOARD/ PLASTER)
NEW LIGHTS
NEW ANTI SLIP FLOORING
HOT WATER TO SINK TAPS – EITHER VERY ROBUST HOT WATER HEATER OR
PIPE FROM EXISTING GAS WATER HEATER OR
NEW GAS WATER HEATER
VENTILATION
REMOVE ANY ELECTRICAL SOCKETS
GOOD
 HAND
DRYER
GOOD
 HAND
DRYER
DO NOT CARE WHERE THINGS GO
WIDEN BOTH DOOR WAYS, WHEEL CHAIR ACCESS
SINK NO
CUPBOARD
SINK NO
CUPBOARD
DOOR
DOOR
NEW RADIATOR
NEW RADIATOR
HAND RAIL
HAND RAIL