MANAGEMENT REVIEW VST/VIAMED Blank version2020

Reports used: enter in any details of reports used. Save the report and upload back to primary Issue as evidence data has been reviewed.

Things Discussedand Action Taken – Must included:
evidence of decision, action or in action, based on the reports used in the Inputs.

# (2.1) Follow-up actions from previous reviews
Reports used

Things Discussed
Action Taken

# (10.1) Contract review / Picking, Packing & Despatch
Reports used
10.1 Contract review Picking Packing and Despatch Number Invoices Produced
10.1 Contract review Picking Packing and Despatch Days to Ship an Order
10.1 Contract review Picking Packing and Despatch Orders And Items Shipped Per Month

Things Discussed
Despite Covid we have maintained an average number Invoices 25-35 per day,
Along with lock down we have shipped somewhere in the region of 45000 R22 Sensors, - normal yearly is sub 2000.
Before Covid we were shipping 80% orders same or next day delivery,
Post Covid we have dropped to 68%, however many orders we delayed due to lack of production capacity at suppliers, beyond our control.

Shipper Statistics page now needs updating to reflect the new order processing system. Currently only show old style orders.

Action Taken:
Issue 196328 Shipper Statistics

# (11.1) Purchasing controls
Reports
11.1 Purchasing controls supplier review.pdf

Things Discussed

Action Taken

# (13.1) Storage & Stock control
Reports
Temperature report currently unavailable since server failure, however we have not had any extremes of weather since server failure.
Weather station requires updating to work with new windows 10.
Unable to perform this until lockdown over and can spend some time in the office on low priority jobs.

Stock control is controlled via barcode tracking.

Things Discussed

Action Taken

# (13.2) Calibration
Reports

Things Discussed

Action Taken

# (13.3) Process and product performance
Reports

Things Discussed

Action Taken

# w(15.0) Customer complaints
Reports used

Things Discussed

All	Expand	Issue	Created By	Created On	Currently With	Subject
Complete		189555	Sarah Walton	06/07/20	Derek Lamb	Ata Medikal

Complete		164268	Derek Lamb	04/02/20	Steve Nixon	Wythenshawe Hospital MHRA Ref: 2019/010/022/401/011

1 Complaint directed at a price increase.

ISSUE:164268, Maxtec Eyemasks 2019/010/022/401/011 .

Action Taken

# (15.1) Customer feedback
Reports used
15.1 Customer feedback Negative
15.1 Customer feedback Positive
15.1 VIAMED Feedback - Product Feedback Negative
15.1 VIAMED Feedback - Product Feedback Positive

Things Discussed
VIAMED Feedback - Customer Feedback Negative
No Issues since May 2019
### Issues in VIAMED Feedback - Customer Feedback Positive

All	Expand	Issue	Created By	Created On	Currently With	Subject
Complete		191048	Helen Lamb	20/07/20	Derek Lamb	From West of England MS Therapy Centre

Complete		185977	Kate Griffiths	03/06/20	Ryan Swaine	Email from NeoPlus, Poland

Complete		175875	Ryan Swaine	05/05/20	General	Medival (Italy) - Purchasing Handi+ during Covid-19 Pandemic

Complete		170319	Catrin Hird	23/03/20	Derek Lamb	eBay kieronallen2002 Customer Feedback Positive

Complete		170299	Catrin Hird	23/03/20	Helen Lamb	eBay Refund as bought multiples of item

Complete		165098	Zoey Teal	11/02/20	Derek Lamb	Positive customer feedback.

Complete		161657	Sophie Lines	03/01/20	Steve Nixon	Positive feedback from new customer Wolds Garage

Complete		159437	Catrin Hird	27/11/19	Derek Lamb	Positive Feedback: Royal Preston

### VIAMED Feedback - Product Feedback Negative

All	Expand	Issue	Created By	Created On	Currently With	Subject
Complete		168239	Ryan Swaine	10/03/20	Steve Nixon	MAX-16 (0110416) - New Design/Manufacturer - Response Required

Complete		163257	Steve Hardaker	24/01/20	Derek Lamb	VM-2160 disposable sensors displaying a "Sensor defective" error

Complete		163256	Steve Hardaker	24/01/20	Steve Hardaker	VM-2160 disposable sensors displaying a "Sensor defective" error

Complete		159422	Steve Hardaker	27/11/19	Catherine Spence	Quality issues with resus mattresses

### VIAMED Feedback - Product Feedback Positive

Complete		171969	Derek Lamb	02/04/20	Derek Lamb	Narked 90 Positive feedback

Complete		167277	Catrin Hird	02/03/20	Catrin Hird	Review Customers: Drymax - Send Questionnaire (1023)

Complete		155285	Steve Hardaker	26/09/19	Steve Nixon	Prosol GOC5223 (R-22AVG) customer feedback

Action Taken

# (15.3) Vigilance system
Reports used
15.0 Customer complaints Issue 164268
15.3 Vigilance system bluepoint Leakage

Things Discussions
No Vigilance reports on products we manufactured.

2 Vigilance type events occurred in 2020.
ISSUE:164268, Maxtec Eyemasks 2019/010/022/401/011 .
ISSUE 193177 BluePoint Possible Leakage Test Failures 193177.

Action Taken

# (15.4) Preventive and corrective actions
Reports
See Report 16.1 Results of internal audits Mini Audits
Things Discussed

Action Taken

# (16.1) Results of internal audits / Mini Audits
Reports used
See Report 16.1 Results of internal audits Mini Audits

Things Discussed

### MAIN ISO AUDITS

 Internal Audits where postponed in March with the COVID Lockdown.
They are currently being updated with any new Rolling tasks / Audits that are linked to various sections of the system.
 Audits will resume in the next month or so as the critical big covid orders are behind us.
### Mini Audits
 Audit Issues are being completed in a timely manor,
Currently 6 Mini Audits have Tasks outstanding
See Report 16.1 Results of internal audits Mini Audits

Action Taken
See Report 16.1 Results of internal audits Mini Audits
# (16.2) Documentation & records
Reports
Report 16.2 Documentation & records
Things Discussed
No problems were found in the documentation and records.

Action Taken

# (16.3) Quality planning
Reports
16.3 Viamed Top Level Objectives
16.4 VM3COP00.00 Viamed Quality Statement policy and objectives.pdf

Things Discussed

Action Taken

# (16.4) Achievement of Quality Policy and Objectives. Confirm still suitable
Reports
16.4 Viamed Top Level Objectives results
16.4 VM3COP00.00 Viamed Quality Statement policy and objectives.pdf _ID22684

Things Discussed

Action Taken

# (16.5) Changes to the Management system
Reports
16.5 Viamed Top Level Objectives results
16.5 amendmentlog

Things Discussed

Response to COVID

Added to Process risk assesment special question regarding Covid,
 Lots of tasks running are no longer applicable due to Covid. When the rush to work at home occurred, All staff were instructed to type in Covid to the rolling task so the processes which were no longer able to be performed would be highlighted in the weekly mini management reviews.
All Tasks have been left running as 90% of them will be relevent when working from the office goes back to normal.
In the mean time each process is/has been reviewed to asses the risk of covid to the process.

Fortunately, the replacement system to Opera the old internal accounts package were well under way since beginning of October last year. We were in a position to move staff home and work remotely via Laptops and second screens.

Action Taken

# (16.6) Changes to CE marked products
Reports

Things Discussed
We are no longer Maintaining any CE marked products of our own design.
Action Taken

# (16.7) External Parties risks and opportunity's review
Reports used
16.7 External Parties risks and opportunitys review
Things Discussed

Action Taken

# (16.8) New products etc.
Reports used

Things Discussed

Action Taken

# (16.9) Advisory notices & recalls
Reports
15.3 Vigilance system bluepoint Leakage 193177
15.0 Customer complaints Issue 164268
Things Discussions
No Actual Notices or Recalls
Action Taken

# (16.10) Possible system changes
Reports used
16.5 amendmentlog

Things Discussed

System is Being moved from Old Contact Management, and Old Accounts packages, to the functions being built directly into the Intrastats system.
Xero is now the Top level Accounts package. Which gives intrastats something to validate itself against.
Drive L along with X,Y,V can now be disconnected from clients.

Action Taken

# (16.11) Recommendations or improvement
Report
16.5 amendmentlog
16.10 Intrastats System changes

Things Discussed

Due to underlying computer changes in software the CORE Iso procedures are not recommended for any major changes until the new system has settled in.
System recommendations come in Via Intrastats as normal Issues. Due to the nature of Intrastats far more possibility's for users to see relevant information at the relevant time.

Action Taken

# (17.1) GDPR
What data do we hold?
- Why do we hold the data?
- Where is the data held?
- Who has access to the data?
- How do we use the data?
- When is the data deleted?
Reports used

Things Discussed

Action Taken

# (17.2) Review of responsibilities
Reports
17.2 Review of responsibilities - Complete Report
VM3COP02.02 Viamed Company Responsibilitys organisation chart structure.pdf _ID27474
17.2 Review of responsibilities USER NAME Responsibilitys * Report for each Staff Member

Things Discussed

Action Taken

# (17.3) Resources required
Reports

Things Discussed
Ware house requirements

Staff Requirements

Action Taken

# (19.0) Training
Reports

Things Discussed
System appears to be working as intended, with areas of the system only opening up if training has been completed,
i.e. impossible to qa a product with specific product being signed off against a member of staff.

Action Taken

# (21.1) Supplier / subcontractor performance
Reports

Things Discussed
Teledyne

Maxtec

Envitec

Action Taken

# (22.0) Any other business
Reports used

Things Discussed

Action Taken