QC 21 Non Conformance Report

| Date | 22.10.2020 |
| --- | --- |
| Issue id unique identifier | ### 201667 |
| BSI Ref (if applicable) unique identifier | 1970716-202010-N1 |
| Responsibility Person Overall responsible | Derek Lamb |
| Non-Conformance statement of the problem | The statement of the problem: The Non-applicable and exclusion clauses were not clearly defined. |
| Investigation By: Person responsible | Derek Lamb / Helen Lamb |
| Investigation Issue id (if applicable) Root Cause Analysis | ### 201673 Root Cause Analysis When we reduced our scope from manufacturing CE products under the MDD, to just supplying other manufactures finished CE products. We were not clear enough in which sections were Excluded from scope, and which sections had 'parts' that were Not Applicable. |
| Corrective Action By: Person responsible | Derek Lamb |
| Corrective Action Issue ID (if applicable): Relevant and Proportionate Corrective Action | ### #200653 |
| Time Scale for Corrective Action Time for completion of all identified actions | Immediate Action and Corrective Action to be carried out by 22nd November 2020 |
| Corrective Action: | Immediate Action Review these sections in the route map labelled as Excluded. Correct those that are labelled incorrectly. Make sure that those section that are Not Applicable should be labelled as such. Corrective Action Review the route map the make sure there are no other miss labelled sections. Add notes to the section indicated as Not Applicable or Excluded, to state why they are described as such. In the recurring issue to review the Route Map add a specific statement to review these section that are labelled as Not Applicable or Excluded. |
| Follow-up future issue id (Effectiveness verification) |  |
| Effectiveness verification |  |
| Closed By: |  |
| Closed on |  |