QC 21 Non Conformance Report

| Date | 22.10.2020 |
| --- | --- |
| Issue id unique identifier | ### 201668 |
| BSI Ref (if applicable) unique identifier | 1970716-202010-N3 |
| Responsibility Person Overall responsible | Derek Lamb |
| Non-Conformance statement of the problem | The internal audit process isn`t fully effective as no evidence were provided for the internal auditor to have been trained to the ISO 13485 version 2016. |
| Investigation By: Person responsible | Derek Lamb / Helen Lamb |
| Investigation Issue id (if applicable) Root Cause Analysis |  |
| Corrective Action By: Person responsible |  |
| Corrective Action Issue ID (if applicable): Relevant and Proportionate Corrective Action |  |
| Time Scale for Corrective Action Time for completion of all identified actions |  |
| Corrective Action: |  |
| Follow-up future issue id (Effectiveness verification) |  |
| Effectiveness verification |  |
| Closed By: |  |
| Closed on |  |