QC 21 Non Conformance Report

| Date | 25 August 2022 |
| --- | --- |
| Viamed / VST* Issue id unique identifier *delete as appropriate | 269905 |
| BSI Ref (if applicable) unique identifier | 2235543-202208-N2 |
| Responsibility Person Overall responsible | Derek Lamb |
| Non-Conformance statement of the problem | The process of Corrective action is not fully effective because the documented procedure was not completely followed. For negative feedback Issue 266313, CAPA 252744 the organisation opened a QC21 (major nonconformity form) something that is not described in the VOP10 Procedure. VOP10 procedure, 25 May 2022, DOCID#90405 CAPA 252744, 01 Mar 2022, Open Investigation, 4 Mar 2022 Negative feedback, Issue no. 266313 QC21, uploaded 25.07.2022- seen to be incomplete |
| Investigation By: Person responsible | Derek Lamb |
| Investigation Root Cause Analysis Issue id (if applicable) |  |
| Corrective Action By: Person responsible |  |
| Corrective Action Issue ID (if applicable): Relevant Immediate Corrective action (if applicable) |  |
| Time Scale for Immediate Corrective Action Time for completion of all identified actions |  |
| Corrective Action: Relevant and Proportionate Corrective Action |  |
| Time Scale for Corrective Action Time for completion of all identified actions |  |
| Risk Review Confirm action does not have negative affects and/or risks to any other part of the ISO system |  |
| Follow-up future issue id (Effectiveness verification) |  |
| Effectiveness verification |  |
| Closed By: |  |
| Closed on |  |