QC 21 Non Conformance Report

Date	16/05/23
Viamed / VST* Issue id / unique identifier / *delete as appropriate	295334
BSI Ref (if applicable) / unique identifier	2342435-202305-N3
Responsibility / Person Overall responsible	Derek Lamb
Non-Conformance / statement of the problem	The process for supplier review is not fully effective as It was not observed that the review for Viamed as a supplier was being conducted as per the procedure / 8.4 Control of externally provided processes, products and services VOP 05 rev #75847/1637687018 Viamed limited – 28 Nov 2022
Investigation By: / Person responsible	Derek Lamb
Investigation / Root Cause Analysis / Issue id (if applicable)	VST Came from Viamed Ltd, effectively a sister company, VST uses the computers,staff, building and infrastructure of Viamed. As such supplier review was not conducted as if Viamed was an external party, but treated as the same entity as VST
Corrective Action By: / Person responsible	Derek Lamb
Corrective Action / Issue ID (if applicable): / Relevant Immediate Corrective action (if applicable)	Perform a supplier review on Viamed, Treating Viamed as other external parties.
Time Scale for Immediate Corrective Action / Time for completion of all identified actions	30 Days
Corrective Action: / Relevant and Proportionate Corrective Action
Time Scale for Corrective Action / Time for completion of all identified actions
Risk Review Confirm action does not have negative affects and/or risks to any other part of the ISO system
Follow-up future issue id / (Effectiveness verification)
Effectiveness verification
Closed By:
Closed on