## silvestr
VST2200 Oxygen Sensor: |  | 100031
activated: |  | 2011-11-26
Name: |  | Silvestr Peknik
Typ of electronics: |  | Mentes Manatee
date | dive time | max depth | temp. st.C | notes (comparison with 2 pc sensors Teledyne R22D)
2011-11-27 | 40min | 36m | 7 | calibration, during dive the difference from + 0,02 to 0,04
2011-12-08 | 30min | 3m | 3 | calibration, during dive the difference from + 0,01 to 0,03
2011-12-09 | 30min | 3m | 3 | during dive the difference from + 0,02 to 0,04
2011-12-10 | 20min | 3m | 2 | during dive the difference from + 0,02 to 0,04
2011-12-31 | 45min | 32m | 3 | calibration, during dive the difference from + 0,02 to 0,05
2012-01-07 | 30min | 32m | 1 - 3 | calibration, during dive the difference from + 0,02 to 0,04
2012-01-08 | 45min | 28m | 1 - 3 | during dive the difference from + 0,02 to 0,04
2012-01-15 | 45min | 32m | 1 - 3 | calibration, during dive the difference from + 0,02 to 0,05
2012-01-21 | 35min | 32m | 1 - 3 | during dive the difference from + 0,02 to 0,04

## canis
VST2200 Oxygen Sensor: |  | 100034
activated: |  | 2011-12-09
Name: |  | David Čani
Typ of electronics: |  | Mentes Manatee
date | dive time | max depth | temp. st.C | notes (comparison with 2 pc sensors Teledyne R22D)
2011-12-10 | 2h3m | 62m | 7 to 8 | OXY calibration before the dive, first 5min.during descent difference +0,06 / then for the rest of the dive from +0,01 to 0,02
2011-12-18 | 1h25m | 34m | 4 to 5 | during descent difference +0,05 / then for the rest of the dive the difference from + 0,03 to 0,06
2011-12-30 | 1h20m | 54m | 11 to 24 | during descent difference +0,15 / then for the rest of the dive the difference from + 0,04 to 0,07
2012-01-08 | 1h25m | 34m | 2 to 3 | OXY calibration before the dive, during dive the difference from + 0,04 to 0,07 - max.difference during ascent 25 and 9 metrs
2012-01-17 | 2h25m | 67m | 11 to 24 | during whole dive the difference from + 0,04 to 0,07
2012-01-18 | 5h40m | 69m | 11 to 24 | during whole dive the difference from + 0,04 to 0,07 / smallest deflection when keeping the depth for long time at 9 and 17m
2012-01-26 | 1h3m | 29m | 1 to 2 | OXY calibration before the dive, when turning on already + 0,02 / then during the dive max.deflection + 0,05 average + 0,03

## marek
VST2200 Oxygen Sensor: |  | 100033
activated: |  | 2011-12-03
Name: |  | Marek Jurecek
Typ of electronics: |  | CCR Hammerhead
date | dive time | max depth | temp. st.C | notes (comparison with 2 pc sensors Teledyne R22D)
2011-12-04 | 55' | 30,2 m | 6 | ok, the difference from + 0,02 to 0,04
2011-12-10 | 133' | 62.8 | 8 | ok, the difference from + 0,02 to 0,05
2012-01-15 | 68' | 33.8 | 3 | ok, the difference from + 0,02 to 0,04

## breta
VST2200 Oxygen Sensor: |  | 100032
activated: |  | 2011-12-01
Name: |  | Břetislav Vaisar
Typ of electronics: |  | CCR Hammerhead
date | dive time | max depth | temp. st.C | notes (comparison with 2 pc sensors Teledyne R22D)
2011-12-04 | 55 | 29m | 5 | ok, little difference +
2011-12-10 | 135 | 62m | 8 | ok, little difference +

## luki
VST2200 Oxygen Sensor: |  | 100018
activated: |  | 2011-12-09
Name: |  | Lukáš Vaněk
Typ of electronics: |  | Mentes Manatee
date | dive time | max depth | temp. st.C | notes

## david
VST2200 Oxygen Sensor: |  | 100036
activated: |  | 2011-12-09
Name: |  | David Skoumal
Typ of electronics: |  | Mentes Manatee
date | dive time | max depth | temp. st.C | notes

## vladan
VST2200 Oxygen Sensor: |  | 100035
activated: |  | 2011-12-09
Name: |  | Vladan Mickerts
Typ of electronics: |  | Mentes Manatee
date | dive time | max depth | temp. st.C | notes