## Sheet1
			Opera ref.	Precision Medical ref.	Oxygen Monitor
Oxygen monitoring page			5610000	PM5900	PM5900 Oxygen Monitor
Oxygen monitoring page			5610010	PM5950	PM5950 Oxygen Analyzer
			5620001	504877	Oxygen Sensor
			5620002	504937	Oxygen Sensor Cable
			5620003	505010	PM5900 V Mount Bracket
			5620004	505120	PM5900 V Mount Bracket Screw
			5620005	505189	Wall Mount & Screws
			5620006	505013	Vertical Pole Mount
			5620007	505014	Horizontal Pole Mount
			5620008	506451	Rail Mount, Horizontal
Oxygen monitoring page			5620009	508420	Oxygen Monitor/Analyzer Mounting Bracket
Oxygen monitoring page			5620010	PM5300SO	SensO2 Oxygen Sensor Supply
			5620011	505126	T Piece
			5620012	505344	Flow Diverter
			5630003	505012	Wall Mount
			5630004	505712	Wall Mount Screws (2)
			5690000	505127	PM5900 Oxygen Monitor User Manual

			Opera ref.	Precision Medical ref.	Low & High Flow Blender
1 Blenders			5610051	PM5300NISTAP	PM5300 Series Low Flow Air/O2 Blender. NIST Inlets. 1 x DISS Primary Outlet, 1 x DISS Auxiliary Outlet.
1 Blenders			5610053	PM5300MNIST	PM5300 Series Low Flow Air/O2 Blender. NIST Inlets. 4 x DISS Primary Outlet, 1 x DISS Auxiliary Outlet.
			5610061	PM5201NIST	PM5200 Series High Flow Air/O2 Blender. NIST Inlets. 1 x DISS Primary Outlet, 1 x DISS Auxiliary Outlet.
			5610063	PM5200MNIST	PM5200 Series High Flow Air/O2 Blender. NIST Inlets. 4 x DISS Primary Outlet, 1 x DISS Auxiliary Outlet.
2 Mounts			5620051	504776	Blender Wall Mount
2 Mounts			5620052	504778	Blender Pole Mount
2 Mounts			5620053	507267	Blender Rail Mount
2 Mounts			5620054	505976	Blender DIN Rail Clamp
3 Hoses			5620140	505774/507712/9122-6ft/507712/7046/6180	Oxygen Hose Assembly, NIST - BS. Hose colour: White. Hose length: 6ft
3 Hoses			5620141	505775/507712/9126-6ft/507712/7046/6184	Air Hose Assembly, NIST - BS. Hose colour: Black w/white strip. Hose length: 6ft
3 Hoses			5620142	505775/507712/9128-6ft/507712/7046/6184	Air Hose Assembly, NIST - BS. Hose colour: Black. Hose length: 6ft
3 Hoses			5620143	505774/507712/9122-9ft/507712/7046/6180	Oxygen Hose Assembly, NIST - BS. Hose colour: White. Hose length: 9ft
3 Hoses			5620144	505775/507712/9126-9ft/507712/7046/6184	Air Hose Assembly, NIST - BS. Hose colour: Black w/white strip. Hose length: 9ft
3 Hoses			5620145	505775/507712/9128-9ft/507712/7046/6184	Air Hose Assembly, NIST - BS. Hose colour: Black. Hose length: 9ft
3 Hoses			5620120	505774/507712/9122-6ft/507712/7046/505753	Oxygen Hose Assembly, NIST - DIN. Hose colour: White. Hose length: 6ft
3 Hoses			5620121	505775/507712/9126-6ft/507712/7046/505761	Air Hose Assembly, NIST - DIN. Hose colour: Black w/white strip. Hose length: 6ft
3 Hoses			5620122	505775/507712/9128-6ft/507712/7046/505761	Air Hose Assembly, NIST - DIN. Hose colour: Black. Hose length: 6ft
3 Hoses			5620123	505774/507712/9122-9ft/507712/7046/505753	Oxygen Hose Assembly, NIST - DIN. Hose colour: White. Hose length: 9ft
3 Hoses			5620124	505775/507712/9126-9ft/507712/7046/505761	Air Hose Assembly, NIST - DIN. Hose colour: Black w/white strip. Hose length: 9ft
3 Hoses			5620125	505775/507712/9128-9ft/507712/7046/505761	Air Hose Assembly, NIST - DIN. Hose colour: Black. Hose length: 9ft
3 Hoses			5620130	505774/507712/9122-6ft/507712/505766	Oxygen Hose Assembly, NIST - AFNOR. Hose colour: White. Hose length: 6ft
3 Hoses			5620131	505775/507712/9126-6ft/507712/505767	Air Hose Assembly, NIST - AFNOR. Hose colour: Black w/white strip. Hose length: 6ft
3 Hoses			5620134	505775/507712/9128-6ft/507712/505767	Air Hose Assembly, NIST - AFNOR. Hose colour: Black. Hose length: 6ft
3 Hoses			5620132	505774/507712/9122-9ft/507712/505766	Oxygen Hose Assembly, NIST - AFNOR. Hose colour: White. Hose length: 9ft
3 Hoses			5620133	505775/507712/9126-9ft/507712/505767	Air Hose Assembly, NIST - AFNOR. Hose colour: Black w/white strip. Hose length: 9ft
3 Hoses			5620135	505775/507712/9128-9ft/507712/505767	Air Hose Assembly, NIST - AFNOR. Hose colour: Black. Hose length: 9ft
3 Hoses			5620150	505774/507712/9122-6ft/507712/7046/505763	Oxygen Hose Assembly, NIST - AGA. Hose colour: White. Hose length: 6ft
3 Hoses			5620151	505775/507712/9126-6ft/507712/7046/505764	Air Hose Assembly, NIST - AGA. Hose colour: Black w/white strip. Hose length: 6ft
3 Hoses			5620152	505775/507712/9128-6ft/507712/7046/505764	Air Hose Assembly, NIST - AGA. Hose colour: Black. Hose length: 6ft
3 Hoses			5620153	505774/507712/9122-9ft/507712/7046/505763	Oxygen Hose Assembly, NIST - AGA. Hose colour: White. Hose length: 9ft
3 Hoses			5620154	505775/507712/9126-9ft/507712/7046/505764	Air Hose Assembly, NIST - AGA. Hose colour: Black w/white strip. Hose length: 9ft
3 Hoses			5620155	505775/507712/9128-9ft/507712/7046/505764	Air Hose Assembly, NIST - AGA. Hose colour: Black. Hose length: 9ft
	5 Flowmeter (right of blender)		5620086	6MFA1002AU-L	Flowmeter, 0-200cc with DISS inlet. Left side version
			5620087	6MFA1002AU-R	Flowmeter, 0-200cc with DISS inlet. Right side version
		6 Flowmeter (can be used on right of blender)	5620088	6MFA1002AU	Flowmeter, 0-200cc with DISS inlet. Straight version
	5 Flowmeter (right of blender)		5620089	4MFA1002AU-L	Flowmeter, 0-1 lpm with DISS inlet. Left side version
			5620090	4MFA1002AU-R	Flowmeter, 0-1 lpm with DISS inlet. Right side version
		6 Flowmeter (can be used on right of blender)	5620091	4MFA1002AU	Flowmeter, 0-1 lpm with DISS inlet. Straight version
	5 Flowmeter (right of blender)		5620092	1MFA3002AU-L	Flowmeter, 0-3 lpm with DISS inlet. Left side version
			5620093	1MFA3002AU-R	Flowmeter, 0-3 lpm with DISS inlet. Right side version
		6 Flowmeter (can be used on right of blender)	5620094	1MFA3002AU	Flowmeter, 0-3 lpm with DISS inlet. Straight version
	5 Flowmeter (right of blender)		5620095	1MFA3500AU-L	Flowmeter, 0-5 lpm with DISS inlet. Left side version
4 Flowmeter (left of blender)			5620096	1MFA3500AU-R	Flowmeter, 0-5 lpm with DISS inlet. Right side version
		6 Flowmeter (either side of blender)	5620097	1MFA3500AU	Flowmeter, 0-5 lpm with DISS inlet. Straight version
	5 Flowmeter (right of blender)		5620080	1MFA1002AU-L	Flowmeter, 0-15 lpm with DISS inlet. Brass body. Left side version
4 Flowmeter (left of blender)			5620081	1MFA1002AU-R	Flowmeter, 0-15 lpm with DISS inlet. Brass body. Right side version
		6 Flowmeter (either side of blender)	5620082	1MFA1002AU-S	Flowmeter, 0-15 lpm with DISS inlet. Brass body. Straight version
	5 Flowmeter (right of blender)		5620200	1MFA1102AU-L	Flowmeter, 2-26 lpm with DISS inlet. Left side version
4 Flowmeter (left of blender)			5620201	1MFA1102AU-R	Flowmeter, 2-26 lpm with DISS inlet. Right side version
		6 Flowmeter (either side of blender)	5620202	1MFA1102AU	Flowmeter, 2-26 lpm with DISS inlet. Straight version
	5 Flowmeter (right of blender)		5620210	1MFA8002AU-L	Flowmeter, 0-70 lpm with DISS inlet. Left side version
4 Flowmeter (left of blender)			5620211	1MFA8002AU-R	Flowmeter, 0-70 lpm with DISS inlet. Right side version
		6 Flowmeter (either side of blender)	5620212	1MFA8002AU	Flowmeter, 0-70 lpm with DISS inlet. Straight version
7a Flow meter connector			5620071	1MFATP	Sensor Tee
7 Flow meter connector			5620075	0122	Flowmeter output connector - plastic, white
7 Flow meter connector			5620076	0159	Flowmeter output connector - hex nut
7 Flow meter connector			5620077	0159K	Flowmeter output connector - knurled hex nut
7 Flow meter connector			5620078	0159C	Flowmeter output connector - hex nut with chain
7 Flow meter connector			5620079	0159KC	Flowmeter output connector - knurled hex nut with chain
			5620070	1MFAHF	High Flow Helper - 3 in 1
Blender Condensation Trap			5620060	PM15-45	Blender Condensation Trap
Other accessories			5630050	505534	Blender Service Kit – PM5300 Low Flow, NIST
			5630051	505535	Blender Service Kit – PM5200 High Flow, NIST